| Vessel (1) | Bitu Atlantic | Date (dd/mm/yy) (2) | 07/01/19 | Ref. (3) | ATL 19 / 008 E |
| --- | --- | --- | --- | --- | --- |
| Department (4) | Engine | Port (5) | AT SEA |  |  |

| Ordered by | Rank + Name (6) | CH. ENGR / P.Maiti |
| --- | --- | --- |
| Approved by | Master Name + Sign | PANAIT Marin |

| Time Period(7) | 1 month 3 months 6 months | Urgent (8) |
| --- | --- | --- |
| Order Details (9) | Email/Tlx Fax Mail | Initial Re-Order |

| Name of Equipment (10) | Electrical Stores | Maker (11) | KERGGER & CO.BV. |
| --- | --- | --- | --- |
| Type of Equipment (12) |  | S/N – Year (13) |  |

Remark: (Clarify Reason for Ordering Extraordinary Quantity Items or Breakdown or ...)

| No (14) | Quant (15) | Item / Description (16) | Code (17) | Stock O/B (18) | Rcvd O/B (19) |
| --- | --- | --- | --- | --- | --- |
| 1 | 100 | LED lamp 9 watt, Base – E 27, Volt-110 VAC, Length- 110, colour- white |  | 0 | 0 |
| 2 | 100 | LED lamp 7 watt, Base – E 27, Volt-110 VAC, Length- 108, colour- white |  | 0 | 0 |
| 3 | 50 | LED lamo 8 watt, Base E 27, Volt-110 VAC Length- 108, colour- yellow |  | 0 | 0 |
| 4 | 50 | Led Indicator Lamp, Colour-yellow, Volt- 24 | 122376 | 0 | 0 |
| 5 | 25 | Led Indicator Lamp, Colour-Green, Volt- 24 | 122374 | 0 | 0 |
| 6 | 25 | Led Indicator Lamp, Colour-White, Volt- 24 | 122370 | 0 | 0 |
| 7 | 50 | LED indicator lamp, colour-yellow, Volt-24, Base-BA7S | --------- | 0 | 0 |
| 8 | 25 | Fluorescent Lighting starter | 122402 | 20 | 0 |
| 9 | 25 | Fluorescent Lighting starter | 122410 | 20 | 0 |
| 10 | 2 bag | Cable ties | 302620 | 0 | 0 |
| 11 | 2 bag | Cable ties | 302628 | 0 | 0 |
| 12 | 2 bag | Cable ties | 302636 | 0 | 0 |
| 13 | 2 bag | Cable ties | 302668 | 0 | 0 |
| 14 | 2 box | Shrinkable sleeving | 512650 | 0 | 0 |
| 15 | 1 | Fuse wire roll | 827820 | 0 | 0 |
| 16 | 1 | Fuse wire roll | 827822 | 0 | 0 |
| 17 | 1 | Fuse wire roll | 827824 | 0 | 0 |
| 18 | 3 | Siemens multi-function timer, voltage-24vdc, 110-240 VAC. | ---------- | 0 | 0 |
| 19 | 6 | Led flood light 30 W.110 VAC | 695172 | 0 | 0 |
| 20 | 6 pc | Finder relays Order no-46.61.8.240.004 | -------- | 0 | 0 |
| 21 | 1 | Adjustable wrench | 368517 | 0 | 0 |
| 22 | 6 | Push button red | 384125 | 0 | 0 |
| 23 | 6 | Push button green | 384123 | 0 | 0 |
| 24 | 6 | Push button black | 384130 | 0 | 0 |
| 25 | 12 | Adapter | 384151 | 0 | 0 |
| 26 | 12 | Mounting Base | 384111 | 0 | 0 |
| 27 | 12 | Contact block 1NO+1NC | 384119 | 0 | 0 |
| 28 | 2 | Cabin Fans | 940086 | 0 | 0 |
| 29 | 1 | Petroleum Jelly (Battery Terminals) | ------- | 0 | 0 |
| 30 | 18 | Battery AA | 18 22 10 | 0 | 0 |
| 31 | 12 | Battery AAA | 18 22 21 | 0 | 0 |
| 32 | 4 | Rechargeable batteries AA | 18 40 27 | 0 | 0 |
| 33 | 1 | Charger for Rechargeable batteries | 18 41 02 | 0 | 0 |

| Rcvd O/B (20) | Name (21) |
| --- | --- |
| Port (22) | Signature (23) |