| Vessel (1) | Bitu Atlantic | Date (dd/mm/yy) (2) | 05/01/19 | Ref. (3) | ATL19 / 007 E |
| --- | --- | --- | --- | --- | --- |
| Department (4) | Engine | Port (5) | At sea |  |  |

| Ordered by | Rank + Name (6) | Ch.eng. P.Maiti |
| --- | --- | --- |
| Approved by | Master Name + Sign | PANAIT Marin |

| Time Period(7) | 1 month 3 months 6 months | Urgent (8) |
| --- | --- | --- |
| Order Details (9) | Email/Tlx Fax Mail | Initial Re-Order |

| Name of Equipment (10) | Newly Installed Tank El. Heaters | Maker (11) | Unity Marine Equipment & Engineering Co. LTD |
| --- | --- | --- | --- |
| Type of Equipment (12) | Electrical Heaters | S/N – Year (13) |  |

Remark: No have any spares related to these heaters.

Can be ordered from KERGER & CO.BV.

| No (14) | Quant (15) | Item / Description (16) | Code (17) | Stock O/B (18) | Rcvd O/B (19) |
| --- | --- | --- | --- | --- | --- |
| 1 | 4 | Main contactor | 443519 | 0 | 0 |
| 2 | 2 | Main contactor | 443579 | 0 | 0 |
| 3 | 6 | Plug in relay with 11 pins | 442284 | 0 | 0 |
| 4 | 6 | Socket for plug in relay 11 pin | 442420 | 0 | 0 |
| 5 | 2 | Transformer | 482527 | 0 | 0 |
| 6 | 6 | Run indication lamp, green, type-AD16-22 | ------------ | 0 | 0 |
| 7 | 7 | Power indication lamp, white, type-AD15-22 | ------------ | 0 | 0 |
| 8 | 2 | Display Temperature controller, type-AL-208DLL1, Maker-UDIAN | ------------ | 0 | 0 |
| 9 | 1 coil | Electric heater for ME jacket water system, Power- 40 KW (each 20 KW), Volt 440 VAC, Type-RSF 40 Drawing no- RSF-40 | ------------ | 0 | 0 |
| 10 | 1 coil | Electric heater for M/E FO system, Power- 120 KW (each 40 KW), Volt 440 VAC, Type-RSF 40, Fr- 60 Hz Drawing no- RYZ- 120, | ------------- | 0 | 0 |
| 11 | 1 coil | Electric heater for FO service tank system, Power- 60 KW (each 30 KW), Volt 440 VAC, Type-RYF 60, Fr- 60 Hz Drawing no- RYF- 60 | ------------- | 0 | 0 |
| 12 | 1 coil | Electric heater for NaOH tank system, Power- 60 KW (each 30 KW), Volt 440 VAC, Type-RSF 60, Fr- 60 Hz Drawing no- RSF- 60 | ------------- | 0 | 0 |
| 13 | 1 coil | Electric heater for M/E FO system, Power- 60 KW (each 30 KW), Volt 440 VAC, Type-RSF 40, Fr- 60 Hz Drawing no- RYZ- 60A, | ------------ | 0 | 0 |
| 14 | 2 | Level Switch, Drawing no-RYF-60 | ---------- | 0 | 0 |

| Rcvd O/B (20) | Name (21) |
| --- | --- |
| Port (22) | Signature (23) |